Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On June 18, 2014, the Department issued a Final Order that was in response to a Petition for Variance from Management Corp. of Oceanview, Condo Assoc. Inc., filed May 27, 2014, and advertised on May 30, 2014, in Vol. 40, No. 105, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 211.3b and 211.3a(7), ASME A17.1, 1987 edition, as adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code, that requires upgrading the elevators smoke detectors and visual and audible signal system because the Petitioner failed to demonstrate a valid hardship (VW2014-154).

A copy of the Order or additional information may be obtained by contacting: Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, (850)488-1133.