- 62-160.330 Approval of New and Alternative Laboratory Methods.

(1) Any person may apply for use of a laboratory method other than those described in subsection 62-160.320(1), F.A.C. Laboratory methods that have been previously approved for use in a contract, order, or permit, or approved by the Department to meet established data quality objectives according to subsection 62-160.320(1), F.A.C., shall remain approved. The documentation that approved the use of the method must be retained for at least five years after the last use of the method.

(2) All new and alternative laboratory methods that support a Department contract, order, permit or Title 62 rules must be approved by the Department prior to use. These methods fall into one of two categories:

(a) New – an analytical laboratory method that tests for an analyte (such as a chemical compound, component, or microorganism) in a specified matrix, and where a method has not been specified, recognized or approved by the Department according to subsection 62-160.320(1), F.A.C.

(b) Alternative – an analytical laboratory method that tests for an analyte (such as a chemical compound, component, or microorganism) in a specified matrix, and is intended to be used in place of a method that has been specified, recognized or approved by the Department according to subsection 62-160.320(1), F.A.C. Alternative methods cannot be approved for the following:

1. Any method that the United States Environmental Protection Agency has designated for analysis of a “method-defined analyte;” and,

2. The following methods from DEP-SOP-002/01, which is incorporated by reference in subparagraph 62-160.800(1)(b)3., F.A.C., including all subparts of the methods cited:

a. LT 7300, Lake Condition Index (LCI) Determination; and,

b. Part LT 7600 of LT 7000.

3. The following methods from DEP-SOP-003/11, which is incorporated by reference in paragraph 62-160.800(1)(c), F.A.C., including all parts and subparts of the methods cited:

a. BRN 1000,

b. SCI 1000, except that the Department shall consider proposed alternatives to sample preservation procedures in SCI 1000, in accordance with subsection 62-160.330(1), F.A.C.,

c. LVI 1000.

(3) A method modification is any modification to a published analytical laboratory method that changes the scope and applicability, specifications, procedures, performance criteria or requirements contained in the method, as applicable to the analytes and matrices for which the method was originally published. A published method is any method specified, recognized or approved by the Department according to subsection 62-160.320(1), F.A.C., or otherwise available to the public in the scientific literature. A modified method must satisfy the data quality objectives established by the Department project for which the modifed method will be used. Additionally, validation of the modified method shall demonstrate that the modified method produces equivalent or superior analytical performance, as compared to the unmodified method, where applicable to the analyte and matrix for which the modifed method will be used.

(a) Upon review of any request to use a modified method, the Department shall determine whether the proposed modified method is a new method or alternative method, according to subparagraph 62-160.330(2)(a) or 62-160.330(2)(b)., F.A.C. All proposals to use modified methods as new methods or alternative methods shall include the submittal of method validation documentation to the Department. Modified methods that are not determined to be new or alternative methods do not require submittal of method validation documentation, as indicated in paragraph (b), below. Methods listed in subparagraphs 62-160.330(2)(b)1. – 62-160.330(2)(b)3., F.A.C., may not be modified.

(b) Except as indicated in paragraph (c), below, method modifications specifically allowed by the published method and do not require submittal of method validation documentation to the Department prior to use. However, the laboratory shall retain all data that demonstrate that the modification meets the Department’s data quality objectives established for the Department project for which the method will be used, and Department approval is limited to the specific method scope and modifications validated by the laboratory. In addition, the laboratory shall document initial and ongoing performance of the method modification, where such demonstration is required by the original, unmodified published method, and, as otherwise required in the testing module of the TNI Standard EL-V1-2009-ISO, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C., that is applicable to the method, when laboratory certification is required according to Rule 62-160.300, F.A.C. All method validation records shall be retained for at least five years after the last use of the modification.

1. Except as indicated in subparagraph 62-160.330(2)(b)1., F.A.C., allowable modifications described by the Environmental Protection Agency (EPA) at 40 CFR, Part 136.6, which is incorporated by reference in subsection 62-160.800(10), F.A.C., are applicable to the methods listed at 40 CFR, Part 136.3, which is incorporated by reference in subsection 62-160.800(7), F.A.C. The Department shall consider all interpretations of 40 CFR Part 136.6 as published by the EPA on its webpages or in applicable EPA memoranda when responding to requests from any person for assistance in clarifying whether a modification to a method listed at 40 CFR, Part 136.3 is allowed. Where such a determination is uncertain or controversial, the Department shall refer the request to the EPA Region 4 Regional Administrator for determination. However, this determination shall not supersede any requirements in Department rules, contracts, orders or permits to use specific methods.

- 2. Except as indicated in subparagraph 62-160.330(2)(b)1., F.A.C, the Department has determined that methods published by the Environmental Protection Agency (EPA) as the collection entitled Test Methods for Evaluating Solid Waste, Physical/Chemical Methods (SW-846) may be modified, to achieve Department data quality objectives, when such modifications are made according to the information and requirements for implementing flexibility in the use of SW-846 methods, alternative methods or method modifications, as discussed in Chapter Two, Section 2.1, in SW-846, which is incorporated by reference in subsection 62-160.800(13), F.A.C.. However, this determination shall not supersede any requirements in Department rules, contracts, orders or permits to use specific methods.

(c) If the modified method will be used as an alternative method as described in subsection 62-160.320(2), F.A.C., the method validation shall demonstrate that the modified method produces equivalent or superior analytical performance in meeting the data quality objectives established for the Department project, as compared to the method for which it is proposed as an alternative. Validation documentation shall be submitted to the Department according to subsection 62-160.330(4), F.A.C.

(4) New and alternative methods shall be demonstrated as appropriate for use according to the requirements in DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C., unless otherwise specified in a Department contract, order, permit or Title 62 rules. Where applicable, any additional demonstrations of initial and ongoing performance shall also be evaluated and documented for the new or alternative method, where such demonstration is required by an original, published method, including a published method that has been modified, and, as otherwise required in the testing module of the TNI Standard EL-V1-2009-ISO, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C., that is applicable to the method, when laboratory certification is required according to Rule 62-160.300, F.A.C. Except as indicated in paragraph 62-160.330(2)(b), F.A.C., method validation documentation shall be submitted to the Department for review and approval. The submitted method validation documentation for a new or alternative laboratory method shall be evaluated by the Department based on its intended use:

(a) Limited-Use Method – the laboratory method is intended only for testing environmental samples from a particular site, waste stream (e.g., facility location) or sample matrix (e.g., effluent, groundwater or drinking water). A limited-use method is validated by a single laboratory and shall only be used by that laboratory.

(b) Statewide-Use Method – the laboratory method is intended for testing environmental samples from similar matrices, sites or waste streams within the state of Florida by multiple laboratories. For a statewide method, the Department requires an interlaboratory collaborative study following the specifications in Appendix D, Official Methods of Analysis of the AOAC INTERNATIONAL, which is incorporated by reference in subsection 62-160.800(14), F.A.C. Alternatively, an inter-laboratory collaborative study that is designed based on procedures published by a nationally recognized consensus-based standards organization (e.g., ASTM International) may be used. Specifications for these studies are provided in DEP-QA-001/01, which is incorporated by reference in subsection 62-160.800(5), F.A.C.

(5) Research methods shall be submitted for review and approval according to the requirements provided in Rule 62-160.600, F.A.C. If a method is initially developed for research purposes but will subsequently be used for compliance or other regulatory activities, the method shall be submitted for review and approval according to subsections 62-160.330(1), (2) and (4), F.A.C.

(6) The approval or disapproval of any submitted new or alternative method shall be noticed as follows:

(a) For methods that are submitted for limited use, the Department shall issue an order of approval or disapproval of the new or alternative method to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the approval or disapproval of the method shall be included or incorporated by reference in the order. On the date of its issuance, the order and the new or alternative method shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the approval or disapproval of the submitted method via the designated listserve.

(b) For methods that are submitted for statewide use, the Department shall issue an order to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the approval or disapproval of the method shall be included or incorporated by reference in the order. A notice of the order approving or disapproving the method shall be published in the Florida Administrative Register. On the date of its issuance, the order and the new or alternative method shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the approval or disapproval of the submitted method via the designated listserve.

(c) Any substantially affected party may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of the date of the order for limited use or within 21 days of the date publication of the order in the Florida Administrative Register for statewide use.

(7) Applicants who are analyzing discharges regulated under the National Pollutant Discharge Elimination System (NPDES) permit system shall comply with applicable regulations in 40 CFR Part 136 sections 136.4, 136.5 and 136.6 , which are incorporated by reference in subsections 62-160.800(8)-(10), F.A.C., respectively. Applicants shall submit the application to the Department, which shall forward the application to the United States Environmental Protection Agency Administrator of Region 4 for review and approval. The determination for approval or rejection shall be made by the United States Environmental Protection Agency. If requested by the applicant, the Department shall assist the applicant in determining whether an application is required for modifications to methods listed at 40 CFR, Part 136.3, according to subparagraph 62-160.330(2)(b)1., F.A.C.

(8) Applicants who are analyzing compliance samples under the Safe Drinking Water Act shall comply with the applicable provisions 40 C.F.R. Part 141, section 141.27, which is incorporated by reference in subsection 62-160.800(11), F.A.C.  and Rule 62-550.550, F.A.C. Use of an alternative analytical technique requires written permission from the Department and United States Environmental Protection Agency.

(9) Except for methods promulgated by the United States Environmental Protection Agency in the Federal Register, a new or alternative laboratory method approved by the Department shall be removed from approval if new technical, scientific or regulatory information justifies its removal. The Department shall use the best scientific and technical information, methods and data in its possession in making the determination to remove a laboratory method from approval.

(a) For a new or alternative laboratory method that was approved for limited use, the Department shall issue an order of rescission of approval of the new or alternative laboratory method to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the rescission of approval of the method shall be included or incorporated by reference in the order. On the date of its issuance, the order shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the rescission of approval of the method via the designated listserve. Any person substantially affected by the rescission of approval of the new or alternative laboratory method may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of the date of the order.

(b) For a new or alternative laboratory method that was approved for statewide use, the Department shall issue an order of rescission of approval of the new or alternative laboratory method to the person who submitted the method (including the Department). Any additional administrative or scientific information pertinent to the rescission of approval of the method shall be included or incorporated by reference in the order. A notice of the order rescinding approval of the method shall be published in the Florida Administrative Register. On the date of its issuance, the order shall be posted on the Department’s Internet site, and all persons enrolled to receive the Department’s Quality of Science eNewsletter shall be notified of the rescission of approval of the method via the designated listserve. Any person substantially affected by the rescission of approval of the new or alternative laboratory method may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of the date of publication of the order in the Florida Administrative Register.

Rulemaking Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS. History–New 4-9-02, Amended 6-8-04, 12-3-08, 7-30-14.