- 25-22.072 Contents of Ten-Year Site Plans.

(1) Individual electric utility ten-year site plans required by Rule 25-22.071, F.A.C., shall include at a minimum the information listed in Form PSC/ENG 43-E. Form PSC/ENG 43-E (11/97), entitled “Electric Utility Ten-Year Site Plan Information and Data Requirements,” is incorporated by reference into this rule and is available from the Division of Engineering.

(2) When an application for certification of a preferred site for a proposed facility has been filed with the Department of Environmental Protection, no further environmental or land use data shall be submitted to the Commission for that site.

Rulemaking Authority 350.127(2), 186.801(4) FS. Law Implemented 186.801, 366.04(5), 366.05(7) FS. History–New 11-10-97.