- 59A-17.119 Facility Life Safety, Building Code Requirements and Physical Plant Standards.

(1) The facility must ensure the health, safety, and well-being of residents. The facility must make available proof of compliance with local codes and ordinances governing fire and safety standards.

(2) The licensee must provide a safe, clean, comfortable, and homelike environment, which allows the resident to use his or her personal belongings to the extent possible.

(3) East transitional living facility licensee must establish and implement written policies designed to maintain the physical plant and overall transitional living facility environment to assure the safety and well-being of residents.

Rulemaking Authority 400.805 FS. Law Implemented 400.805 FS. History–New 9-28-92, Amended 10-19-94, 8-28-14.