Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NOS.:	RULE TITLES:

62-610.466	Aquifer Storage and Recovery (ASR)

62-610.563	Waste Treatment and Disinfection

NOTICE IS HEREBY GIVEN that on August 8, 2014, the Department of Environmental Protection received a petition for a variance from the Destin Water Users, Inc., from subparagraphs 62-610.466(9)(a)1 and 62-610.563(3)(b)1.a, FAC, which sets treatment criteria for reclaimed water projects for aquifer storage and recovery, specifically that the reclaimed water limit for Total Trihalomethanes (THM) be a maximum single sample of 0.080 mg/L. The petitioner requests in the variance that the THM compliance values be limited as an annual average 0.080 mg/L. The petition has been assigned OGC File # 14-0442 and PA File No.: FLA010194-020-DWF/VO. Public comment must be received by the person below no later than 14 days from the date of publication of this notice.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Bill Evans, Department of Environmental Protection, Northwest District, 160 W. Government Street, Suite 308, Pensacola, FL 32502-5794; (850)595-0584; bill.evans@dep.state.fl.us.