- 25-30.210 Definitions.

For the purpose of this part, the following definitions apply:

(1) “Customer” shall mean any person, firm, association, corporation, governmental agency, or similar organization who has an agreement to receive service from the utility;

(2) “Main” shall mean a pipe, conduit or facility which conveys utility service to individual services or to other mains;

(3) “Meter” shall mean any device used to measure service rendered to a customer by a utility;

(4) “Service Pipe” shall mean the pipe between the utility’s mains and the point of delivery and shall include all of the pipe, fittings and valves necessary to make the connection excluding the meter.

(5) “Service Connection” shall mean the point of connection of the customer’s piping with the meter or service pipe owned by the utility.

(6) “Point of Delivery” shall mean where the service pipe is connected to the utility company’s main.

(7) “Point of Delivery” for water systems shall mean the outlet connection of the meter for metered service or the point at which the utility’s piping connects with the customer’s piping for non-metered service.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 9-12-74, Formerly 25-10.15, 25-10.015, Amended 11-10-86.