- 28-24.003 Electrical Generating Facilities and Transmission Lines.

The following developments shall be presumed to be developments of regional impact and subject to the requirements of Chapter 380, F.S.:

(1) Any proposed steam electrical generating facility with a total generating capacity greater than one hundred (100) megawatts, or a proposed steam addition to an existing electrical generating facility, which addition has a generating capacity of greater than one hundred (100) megawatts; except that this paragraph shall not apply to a facility which produces electricity not for sale to others. Generating capacity shall be measured by the manufacturer’s rated “name plate” capacity.

(2) Any proposed electrical transmission line which has a capacity of two hundred thirty (230) kilovolts or more and crosses a county line.

Provided, however, that no electrical transmission line shall be considered as falling within this standard if its construction is to be limited to an established right-of-way, as specified in Section 380.04(3)(b), F.S.

Rulemaking Authority 14.202 FS. Law Implemented 380.06 FS. History–New 7-1-73, Formerly 22F-2.03, 27F-2.03, 27F-2.003.