- 28-24.021 Petroleum Storage Facilities.

(1) Subject to Section 380.06(2)(d), F.S., the following developments shall be developments of regional impact and subject to the requirements of Chapter 380, F.S.:

(a) Any proposed facility or combination of facilities located within one thousand (1,000) feet of any navigable water for the storage of any petroleum product with a storage capacity of over fifty thousand (50,000) barrels.

(b) Any other proposed facility or combination of facilities for the storage of any petroleum product, with a storage capacity of over two hundred thousand (200,000) barrels.

(2) For the purpose of this rule, “barrel” shall mean forty-two (42) U. S. Gallons.

Rulemaking Authority 380.06(2) FS. Law Implemented 380.06, 380.0651 FS. History–New 12-31-85, Formerly 27F-2.021.