Notice of Change/Withdrawal

DEPARTMENT OF FINANCIAL SERVICES

Division of State Fire Marshal

RULE NOS.:	RULE TITLES:

69A-60.002	Scope; Description of Florida Fire Prevention Code

69A-60.005	Publications Referenced in NFPA 1, the Florida 2006 Edition, and NFPA 101, the Florida 2006 Edition, Added to the Florida Fire Prevention Code

NOTICE OF CHANGE

Notice is hereby given that the following changes have been made to the proposed rule in accordance with subparagraph 120.54(3)(d)1., F.S., published in Vol. 40, No. 79, April 23, 2014 issue of the Florida Administrative Register.

- The following subparagraphs in Rule 69A-60.002(3)(b) have been changed to read:

2. Chapter 69A-36, F.A.C., Uniform Fire Safety Standards for Nonresidential Child Care Facilities;

7. Chapter 69A-43, F.A.C., Uniform Fire Safety Standards for Transient Public Lodging Establishments, Timeshare Plans, and Timeshare Unit Facilities;

B. The following paragraphs in Rule 69A-60.005(2) have been changed to read:

(ff) NFPA 52, 2010 2006 edition, Vehicular Gaseous Fuel Systems Code.

(hh) NFPA 55, 2010 2005 edition, Standard for the Storage, Use, and Handling of Compressed Gasses and Cryogenic Fluids Code in Portable and Stationary Containers, Cylinders and Tanks.

(ll) NFPA 61, 2008 edition, Standard for the Prevention of Fires and Dust Explosions in Agricultural and Food Processing Products Facilities.

(pp) NFPA 72, 2010 2007 edition, National Fire Alarm and Signaling Code®.

(ddd) NFPA 101A, 2010 2007 edition, Guide on Alternative Approaches to Life Safety.

(ppp) NFPA 204, 2012 2007 edition, Standard for Smoke and Heat Venting.

(dddd) NFPA 265, 2011 2007 edition, Standard Methods of Fire Tests for Evaluating Room Fire Growth Contribution of Textile or Expanded Vinyl Wall Coverings on Ffull Height Panels and Walls.

C. The following paragraphs have been added to Rule 69A-60.005(2) and the remaining paragraphs have been renumbered:

(hhhh) NFPA 289, 2009 edition, Standard Method of Fire Test for Individual Fuel Packages.

(hhhh) through (nnnn) renumbered as (iiii) through (oooo) No change.

(pppp) NFPA 400, 2010 edition, Hazardous Materials Code.

(oooo) through (kkkkk) renumbered (qqqq) through (mmmmm) No change.

(nnnnn) NFPA 720, 2012 edition, Standard for the Installation of Carbon Monoxide (CO) Detection and Warning Equipment.

(lllll) through (qqqqqq) renumbered as (ooooo) through (tttttt) No change.

D. Paragraphs originally numbered (bbbbbb) and (qqqqqq) in the April 23, 2014 notice for Rule 69A-60.005(2) have been deleted and the remaining paragraphs have been renumbered.