28-30.013 Plumbing Code.

The existing Monroe County plumbing code shall continue for a period of not more than two (2) years from the adoption of this rule and during which time appropriate amendments to such plumbing code shall be made to provide for the installation of water conserving fixtures in all new and redevelopment areas.

Specific Authority 380.05(8) FS. Law Implemented 380.05 FS. History–New 3-30-76, Formerly 22F-9.13, Formerly 27F-9.13, Transferred from 27F-9.013.