- 5J-20.049 Use of Liquefied Petroleum Gas Limited.

(1) No person, firm, or corporation shall use liquefied petroleum gas as a source of pressure in lieu of compressed air in operating emergency shut off valves, spray guns and other similar equipment.

(2)(a) The use, sale, and distribution of refrigerants containing liquefied petroleum gas is prohibited for use in mobile air conditioning systems.

(b) “Mobile air conditioning system” means mechanical vapor compression equipment which is used to cool the driver’s or passenger compartment of any motor vehicle.

Rulemaking Authority 527.06 FS. Law Implemented 527.06 FS. History–New 8-7-80, Formerly 4A-1.04, Amended 7-18-85, Formerly 4B-1.04, Amended 2-15-94, Formerly 4B-1.004, 5F-11.049.