- 5J-20.062 Approved Courses of Continuing Education.

(1) Courses, which cover one or more of the following topics, shall be approved for continuing education credit as required in Section 527.0201, F.S., for Category I Liquefied Petroleum Gas Dealer Qualifiers, LP Gas Installer Qualifiers, and Master Qualifiers:

(a) Inspections and maintenance of LP gas facilities and equipment.

(b) State and federal LP gas laws, rules and regulations, codes and standards.

(c) Gas emergency procedures, fire protection, or risk management planning.

(d) Gas storage and distribution facility operations and safety.

(e) Gas transportation and delivery.

(f) Gas liquid transfer.

(g) Gas tanks, cylinders and equipment.

(h) Gas liquid and vapor distribution systems and equipment.

(i) Gas equipment and appliance service, installation and repair.

(2) Sixteen hours of continuing education during the three-year period must be attained in order for the qualifier or master qualifier to renew certification. Continuing education credits will be granted on an hour-for-hour basis for up to four (4) hours credit per class. For each 16 hours of continuing education credits, a minimum of two hours shall be from items (a), (b) or (c) in subsection (1) above.

(3) Continuing education classes provided by the employer shall be documented as outlined in Rule 5J-20.060, F.A.C., and records shall be maintained at the employee’s work location. These records shall be available for inspection by the bureau upon request.

Rulemaking Authority 527.0201, 527.06 FS. Law Implemented 527.0201, 527.055, 527.06 FS. History–New 1-15-02, Amended 7-28-14, Formerly 5F-11.062.