- 5F-2.002 Disposition of Below Standard Gasoline, Kerosene, Diesel Fuel Oils No. 1-D and No. 2-D, and Fuel Oils No. 1 and No. 2, and Alternative Fuels.

(1) Gasoline. All gasoline found not meeting any standard adopted in subsection 5F-2.001(1), F.A.C.; any other standard pertaining to gasoline adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections (6) and (7).

(2) Kerosene. All kerosene found not meeting any standard adopted in subsection 5F-2.001(2), F.A.C.; any other standard pertaining to kerosene adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections (6) and (7).

(3) Diesel Fuel Oils No. 1-D and No. 2-D. All Diesel Fuel Oils No. 1-D and No. 2-D found not meeting any standard adopted in subsection 5F-2.001(3), F.A.C.; any other standard pertaining to Diesel Fuel Oils No. 1-D and No. 2-D adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections (6) and (7).

(4) Fuel Oils No. 1 and No. 2. All Fuel Oils No. 1 and No. 2 found not meeting any standard adopted in subsection 5F-2.001(4), F.A.C.; any other standard pertaining to Fuel Oils No. 1 and No. 2 adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections (6) and (7).

(5) Alternative Fuels. All alternative fuels found not meeting any standard adopted in subsection 5F-2.001(5), F.A.C.; any other standard pertaining to alternative fuels adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections (6) and (7).

(6) In accordance with Section 525.035, F.S., any petroleum fuel that fails to meet applicable labeling requirements, as adopted in this rule, shall be placed under Stop Sale Order by the department using FDACS-03206, Stop Sale Order, Rev. 12/12, and the measuring devices and storage tanks of said product shall be sealed by the department with FDACS-03537, Warning Tag, Rev. 08/12, prohibiting the sale of the petroleum fuel. The petroleum fuel shall be released by the department from the Stop Sale Order in accordance with Section 525.035, F.S., using FDACS-03209, Release, Rev. 1/09. The documents referenced in this subsection are incorporated by reference in Rule 5F-2.001, F.A.C.

(7) In accordance with Section 525.037, F.S., any petroleum fuel that fails to meet applicable standards, as adopted in this rule, shall be placed under Stop Sale Order by the department using FDACS-03206, Stop Sale Order, Rev. 12/12, and the measuring devices and storage tanks of said petroleum fuel shall be sealed by the department with FDACS-03537, Warning Tag, Rev. 08/12, prohibiting the sale of the petroleum fuel. The petroleum fuel shall be released by the department from the Stop Sale Order in accordance with Section 525.037, F.S., using FDACS-03209, Release, Rev. 01/09. The documents referenced in this subsection are incorporated by reference in Rule 5F-2.001, F.A.C.

Rulemaking Authority 525.14, 570.07(23) FS. Law Implemented 525.035, 525.037, 525.16 FS. History–New 7-1-71, Amended 7-1-73, Repromulgated 12-31-74, Amended 2-13-80, Formerly 5F-2.02, Amended 5-3-90, 8-13-92, 1-24-93, 11-29-94, 6-1-06, 5-6-08, 1-3-10, 1-7-15.