Notice of Variances and Waivers

DEPARTMENT OF HEALTH

Board of Pharmacy

RULE NO.:	RULE TITLE:

64B16-27.797	The Standards of Practice for Compounding Sterile Products

NOTICE IS HEREBY GIVEN that on December 26, 2014, the Board of Pharmacy received a petition for variance or waiver filed by Mark Schneider on behalf of TeamCare Infusion, Inc., seeking a permanent waiver of the requirement of paragraph 64B16-27.797(4)(c), F.A.C., which requires that HEPA-filtered supply air shall be introduced at the ceiling, and returns should be mounted low on the wall, creating a general top-down dilution of area air with HEPA-filtered make-up air.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Patrick Kennedy, Executive Director, Board of Pharmacy, 4052 Bald Cypress Way, Bin #C04, Tallahassee, Florida 32399-3254 or at info@Floridaspharmacy.gov. Comments on this petition should be filed with the Board of Pharmacy/MQA, within 14 days of publication of this notice.