- 25-30.440 Additional Engineering Information Required of Class A and B Water and Wastewater Utilities in an Application for Rate Increase.

Each applicant for a rate increase shall provide two copies of the following engineering information to the Commission, with the exception of subsection (1), of which only one copy is required.

(1) A detailed map showing:

(a) The location and size of the applicant’s distribution and collection lines as well as its plant sites, and

(b) The location and respective classification of the applicant’s customers.

(2) A list of chemicals used for water and wastewater treatment, by type, showing the dollar amount and quantity purchased, the unit prices paid and the dosage rates utilized.

(3) The most recent chemical analyses for each water system conducted by a certified laboratory covering the inorganic, organic turbidity, microbiological, radionuclide, secondary and unregulated contaminants specified in Chapter 62-550, F.A.C.

(4) All water and wastewater plant operating reports for the test year and the year preceding the test year.

(5) The most recent sanitary survey for each water plant and inspection report for each wastewater plant conducted by the health department or the Department of Environmental Protection (DEP).

(6) All health department and DEP construction and operating permits.

(7) Any Notices of Violation, Consent Orders, Letters of Notice, or Warning Notices from the health department or the DEP in the previous five years.

(8) A list of all field employees, their duties, responsibilities, and certificates held, and an explanation of each employees’ salary allocation method to the utility’s capital or expense accounts.

(9) A list, by serial number and description, of all vehicles owned or leased by the utility showing the original cost or annual lease expense, who the vehicle is assigned to, and the method of allocation to the utility.

(10) Provide a list, by customer, of all complaints received during the test year, with an explanation of how each complaint was resolved.

(11) Provide a copy of all customer complaints that the utility has received regarding DEP secondary water quality standards during the past five years.

Rulemaking Authority 350.127(2), 367.0812(5), 367.121 FS. Law Implemented 367.081, 367.0812 FS. History–New 11-10-86, Amended 6-25-90, 2-10-15.