Notice of Bid/Request for Proposal

DEPARTMENT OF CHILDREN AND FAMILIES

Project No. 15245310, Roof Replacement, Building No. 1007

PRE-BID MEETING: A mandatory pre-bid meeting will be held on Tuesday, February 17, 2015 at 10:00 a.m. local time. The meeting will be held at Maintenance & Facilities Conference Room, Building #1123, Lonesome Pine Road on Florida State Hospital Campus, Chattahoochee, Florida.

BID OPENING: Sealed bids will be received, publicly opened and read aloud on:

DATE: Wednesday, February 25, 2015

TIME: 2:00 p.m. local time

LOCATION: 1317 Winewood Blvd., Building #3, Room 205G, Tallahassee, Florida. Opening and reading bids aloud will occur in Building #3, Room 202, Conference Room.

PROJECT DISCRIPTION: All work to be performed shall be located on Building #1007, Patient Dining and Connector Hall roof, Florida State Hospital, Chattahoochee, Florida. The existing Patient dining (35 squares plus or minus) Roof System consist of Tectum Deck structure with tapered Fiberglas Insulation Board with Modified B.U.R. System, and an internal drain system. The existing Connector (5 squares plus or minus) Hall Roof System consist of cast-in-place structural concrete roof deck w/ B.U.R. system with ballast, and an external collector drain with downspout.

The project work shall consist of the removal of all insulation, B.U.R. with modified cap sheet, ballast/gravel, and close roof access panel. New roof shall be to mechanically attach/adhere 1.5 inch thick, ½” per foot tapered Polyisocyanurate insulation board over existing deck, adhere ¼” thick Gypsum-Fiber cover board and adhere attach fabric-reinforced thermoplastic PVC sheet membrane (40 squares plus or minus). Remove and replace all fascia and drip edge with new aluminum fascia and Aluminum gutters and Downspouts.