Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-1.004	General Sanitation and Safety Requirements

The Florida Department of Business and Professional Regulation, Division of Hotels and Restaurants hereby gives notice:

On January 12, 2015, the Division of Hotels and Restaurants received a Petition for an Emergency Variance for paragraph 61C-1.004(1)(a), F.A.C., Section 5-203.13, 2009 FDA Food Code from Kappo located in Orlando. The above referenced F.A.C. addresses the requirement that at least one service sink is provided for the cleaning of mops or similar cleaning tools and the disposal of mop water. They are requesting to utilize the mopsink facilities located within an adjacent establishment under a different ownership.

The Petition for this variance was published in Vol. 41/09 on January 14, 2015. The Order for this Petition was signed and approved on January 21, 2015. After a complete review of the variance request, the Division finds that the application of this Rule will create a financial hardship to the food service establishment. Furthermore, the Division finds that the Petitioner meets the burden of demonstrating that the underlying statute has been achieved by the Petitioner ensuring ensuring that the mop sink facilities within East End Market (FDACS Permit Number 1530323) are maintained in a clean and sanitary manner, all sinks are provided with hot and cold running water under pressure and are available during all hours of operation. If the ownership of East End Market changes (East End Market, LLC), an updated, signed agreement for use of the facilities is required immediately.

A copy of the Order or additional information may be obtained by contacting: Lydia.Gonzalez@myfloridalicense.com, Division of Hotels and Restaurants, 1940 North Monroe Street, Tallahassee, Florida 32399-1011.