Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

NOTICE IS HEREBY GIVEN that on March 2, 2015, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, received a petition for Emerald House. Petitioner seeks an emergency variance of the requirements of ASME A17.3, Section 3.10.4(u) and 4.4.4(e) and ASME A17.1, Section 321.2, as adopted by subsection 61C-5.001(1), F.A.C., that requires upgrading the elevators emergency stop switch, liquid level detector and top-of-car operating devices which poses a significant economic/financial hardship. Any interested person may file comments within 5 days of the publication of this notice with Mark Boutin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013 (VW2015-055).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Doug Melvin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.