Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On March 3, 2015, the Division issued an order. The Final Order was in response to a Petition for an emergency Variance from Gulf Coast Medical, filed February 23, 2015, and advertised on February 25, 2015, in Vol. 41, No. 38, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.2.2.5 ASME A17.1b, 2009 edition, as adopted by paragraph 61C-5.001(1)(a), F.A.C., and Florida Building Code 3008.1(3)(e) that requires upgrading the elevators sump pump because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2015-048).

A copy of the Order or additional information may be obtained by contacting: Doug Melvin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.