Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On March 11, 2015, the Division issued an order. The Final Order was in response to a Petition for an emergency temporary Variance from Emerald House, filed March 2, 2015, and advertised on March 5, 2015, in Vol. 41, No. 44, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 4.4.4(e), 3.10.4(u) and 2.2.2.6 ASME A17.3, 1996 edition, and Rule 321.2, ASA A17.1 1965 edition as adopted by paragraph 61C-5.001(1)(a), F.AC, from providing an emergency stop switch, top-of-car operating devices and liquid level detector because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2015-055).

A copy of the Order or additional information may be obtained by contacting: Doug Melvin, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.