- 31-3.011 Sanitary Requirements.

Every building, trailer, and structure located in the District in which human beings reside, are employed or congregate, shall be required to have a sanitary method of disposing of sewage, namely, either one or more sanitary water closets that are connected with the District sewer, to a septic tank approved by the District or to a temporary portable toilet approved by the District. PROVIDED, all sewerage disposal facilities previously inspected and approved by other health and sanitary authorities shall not require additional inspection.

Rulemaking Authority Chapter 71-822, Special Acts of Florida, 1971, as amended, Chapter 75-475, Special Acts of Florida, 1975. Law Implemented Chapter 71-822, Section 6(10), (19), Special Acts of Florida History–New 11-12-75, Formerly 31-3.11.