- 31-10.002 Residential Equivalent Connections.

(1) Residential equivalent connections for the purpose of determining plant connection charges, regional transmission system line charges, and quarterly service charges and such other reasonably related purposes, shall be as follows:

(a) One (1) toilet (water closet) equals 1.000 equivalent connections.

(b) Two (2) toilets (water closets) equals 1.250 equivalent connections.

(c) Three (3) toilets (water closets) equals 1.500 equivalent connections.

(d) Four (4) or more toilets (water closets) equals 1.750 equivalent connections.

(2) Nurseries/Day Care Centers rates, fees and charges will be based on the rate charged for 1.0 residential equivalent connection per 550 square feet of gross space used directly for students.

Rulemaking Authority Chapter 71-822, Special Acts of Florida, 1971, as amended. Law Implemented Chapter 71-822, Sections 6(8) and (11), and Section 8; and Sections 6(9), (12) and (27) as amended by Chapter 76-429. History–New 12-9-76, Amended 9-26-78, 5-21-81, 6-30-85, Formerly 31-10.02, Amended 11-1-98.