- 31-10.003 Non-residential Equivalent Connections.

(1) For the purpose of determining plant connection charges, regional transmission system line charges, monthly service availability standby charges, and such other reasonably related purposes, equivalent connections for non-residential units shall consist of the highest number of equivalent connections reflected in subsections (a) & (b) below or in accordance with calculations derived from use of subsection (c) or (d) below (if applicable):

(a) A minimum of one (1) equivalent connection per non-residential unit, as defined herein; or

(b) One (1) equivalent connection per toilet (water closet); or

(c) Equivalent connections in accordance with the following non-residential businesses, occupations and uses, based upon the maximum occupancy per fire code design where applicable:

|  | EQUIV. |
| --- | --- |
| TYPE OF USE | CONNECTION |
| Restaurant (regular) | .06/seat |
| Restaurant (24 hour) | .10/seat |
| Trailer Park | 1/space |
| Hospital | .80/bed |
| Tavern (Bar) | .04/seat |
| Nursing/Rest Home | .40/bed |
| High School | .08/pupil |
| Elementary School | .06/pupil |
| Laundromats | 1.1/washing machine |
| Office Buildings | .75/1000 sq. ft. (Gross Bldg. Area) |
| Hotel/Motel (no Bar or Restaurant) | 1.0/unit |

(d) As may be designated by motion of the Governing Board of the District upon presentation of good and sufficient evidence to merit other specific determination.

Rulemaking Authority Chapter 71-822, Special Acts of Florida, 1971, as amended. Law Implemented Chapter 71-822, Sections 6(8) and (11), and Section 8; and Section 6(9), (12) and (27) as amended by Chapter 76-429. History–New 12-9-76, Amended 6-25-78, 9-26-78, 5-21-81, 4-25-84, 6-30-85, Formerly 31-10.03.