- 64E-4.011 Notification and Reports of Incidents.

(1) Immediate Notification. Each registrant shall notify the Department immediately by telephone at (407)297-2095 of any incident involving any source of laser or collateral radiation possessed by the registrant and which has or may have caused:

(a) An exposure to an individual of greater than 100 times the MPE limits of laser or collateral radiation; or

(b) An exposure to an individual which involves the partial or total loss of sight in either eye; or

(c) An exposure to an individual which involves perforation of the skin or other serious injury exclusive of eye injury.

(2) Twenty-four Hour Notification. Each registrant shall notify the Department by telephone at (407)297-2095 within 24 hours of any incident involving any source of laser or collateral radiation possessed by the registrant and which has or may have caused:

(a) An exposure to an individual of greater than five times the MPE limits of laser or collateral radiation; or

(b) An exposure to an individual with second- or third-degree burns to the skin or potential injury and partial loss of sight.

(3) Each registrant shall make a report in writing within 30 days to the Department of:

(a) Each exposure of an individual to laser and collateral radiation in excess of the MPE limits,

(b) Any incident for which notification is required by subsection 64E-4.011(1) or (2), F.A.C., above.

(4) Each report required by subsection 64E-4.011(3), F.A.C., above, shall describe the extent of exposure of individuals to laser or collateral radiation, including estimates of each individual’s exposure; levels of laser or collateral radiation involved; the cause of the exposure; and corrective steps taken or planned to be taken to assure against a recurrence.

(5) Any report filed with the Department pursuant to subsection 64E-4.011(3), F.A.C., above, shall include the full name of each individual exposed, an estimate of each individual’s exposure and a description of any injuries. The report shall be prepared so that this information is stated in a separate part of the report.

(6) When a registrant is required to report to the Department any exposure of any individual to laser or collateral radiation, the registrant shall also provide to the individual a report on the exposure data included therein. Such reports shall be transmitted at a time not later than the date of transmittal to the Department.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, Formerly 10D-89.124, Amended 4-20-15.