The Bureau of Elevator Safety hereby gives notice that on  January 9, 2006, it issued three Orders Granting Variance Requests in response to  petitions filed on December 27, 2005 and advertised in FAW Vol, 32, No. 02 by Jennifer Livingston of Otis Elevator regarding One Singer Island - Group 1 through 3(VW2005-192, 191 and 190). The petitions sought  waivers from Rules 2.1.1.1.2, 2.1.1.3, 2.7.6, 2.20.1, and 2.20.9 of ASME A17.1, 2000 Edition, as adopted by Chapter 3001.2, 2004 Florida Building Code. The petitioner requested to not have a machine room and to use coated steel belts in lieu of steel cables suspending the car. The petitions were granted as it was demonstrated that this new technology provided an equivalent or greater level of safety.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940, North Monroe Street, Tallahassee, Florida 32399-2202.