The Bureau of Elevator Safety hereby gives notice that on February 9, 2006, it Issued an Order Granting Emergency Variance Request in response to a petition filed on January 12, 2006, (as advertised in FAW Vol. 32, No. 05) by Jeanne Martin of Accessibility Lifts, Inc. regarding Windoor Incorporated Tract (VW 2006-006), seeking a waiver from Rule 2000.7a of ASME A17.1, 2000 Edition, as adopted by Chapter 3001.2, 2004 Florida Building Code. The petitioner requested to have a vertical wheelchair lift exceed the 12 foot limit of rise by 3 inches. The variance was granted as the petitioner demonstrated that the unit was designed and approved to travel up to 14 feet in height.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940, North Monroe Street, Tallahassee, Florida 32399-2202.