The Bureau of Elevator Safety hereby gives notice that on January 9, 2006, it Issued an Order Granting Variance Request in response to a petition filed October 13, 2005 and advertised in FAW Vol. 31, No. 49, by Steve Powell of KONE, Inc. regarding The Rivers IV, FL (VW 2005-155). The variance granted a waiver from Rules 2.1.3.1 and 2.7.6, of ASME A17.1, 2000 Edition and 2.29.2 of ASME A17.2, 1996 Edition, as adopted by Chapter 3001.2, 2004 Florida Building Code. The petitioner had requested to not have a machine room and to install a Monospace© Elevator System in the above project and the petition was granted as the petitioner demonstrated that this new technology provided an equivalent or greater level of safety.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940, North Monroe Street, Tallahassee, Florida 32399-2202.