- 40D-3.492 Violations.

(1) In addition to those violations set forth in Section 373.336, F.S., and Rule 62-531.450, F.A.C., actions, omissions, or conduct that shall be considered a violation of this chapter include the following:

(a) Failure to submit a complete well completion report within 30 days of the completion of construction, repair or abandonment of any well.

(b) Intentional misrepresentation or falsification of records.

(c) Failure to obtain a permit when required under Rule 40D-3.041, F.A.C.

(d) Failure to keep a field log at the drilling site with accurate information of all construction activities.

(e) Failure to provide a field log upon request to a District representative at the drilling site during times when work is in progress.

(f) Failure to report to the District within 30 days of expiration of the permit when no work is performed or the well is not completed.

(g) Failure to comply with any or all permit conditions.

(h) Failure to notify the District 24 hours prior to the commencement of drilling operations of any public supply well.

(i) Failure to notify the District 24 hours prior to the placement of grout in the annular space of any public supply well; plugging of an abandoned well that is greater than two inches in diameter, or that is more than 20 feet in depth; or the construction of any well under a permit issued with special grouting conditions.

(j) Failure to notify the District 48 hours prior to the completion of a well that is subject to the requirements of Rule 40D-3.600, F.A.C.

(k) Failure to have the well construction permit available at the well site during construction, repair, modification or abandonment.

(l) Failure to produce upon request to the District a record of the well construction within the allowable time provided in paragraph 40D-3.411(1)(c), F.A.C.

(2) Violations may be reported by any person, including District staff.

Rulemaking Authority 373.044, 373,113, 373.171 FS. Law Implemented 373.308, 373.309, 373.342 FS. History‒New 7-10-13, Amended 7-12-15.