Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from the American Society of Interior Designers’ and Lucille McKey. The petition seeks the agency’s opinion as to the applicability of Sections 107.1 & 202, Florida Building Code 5th Edition (2014), Building as it applies to the petitioner.

Petitioner seeks clarifications as to whether registered interior designers are included in the definition of “registered design professionals” and may sign & seal interior design plans for building permits for interior construction.

A copy of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk's Office, Department of Business and Professional Regulation, 1940 North Monroe Street, Suite 92, Tallahassee, Florida 32399-2203, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, Suite 90A, 1940 North Monroe, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or April L. Hammonds, Office of the General Counsel, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-1000, (850)487-1824, april.hammonds@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING, §120.57(2), FLA. STAT., MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.