38I-40.002 Definitions.

The definitions set out in Section 255.551, Florida Statutes, are hereby incorporated by reference for use in these rules. In addition, for purposes of these rules:

(1) “AHERA” means the Asbestos Hazard Emergency Response Act of 1986 as referred to in Section 255.551(15), Florida Statutes.

(2) “AOPT” means the Asbestos Oversight Program Team established in Section 255.565, Florida Statutes.

(3) “Asbestos Program Administrator” means that person selected by the Secretary of Labor and Employment Security to manage the asbestos program mandated by Sections 255.551-.565, Florida Statutes.

(4) “Building Asbestos Contact Person” means a person who manages and coordinates asbestos related activities required by Sections 255.551-.565, Florida Statutes, for a specific state-owned building or buildings. This person shall be capable of identifying existing and potential asbestos hazards in the building and have authority to take timely corrective action.

(5) “Building asbestos survey” means a comprehensive review of a building’s drawings and related documents, in depth interviews with building maintenance and custodial supervisors and employees and a thorough physical inspection of the building, including laboratory analyses of building materials that might contain asbestos, in order to identify all asbestos-containing materials located within the building. It includes a hazard assessment based on the amount, condition and location of asbestos-containing materials and recommended corrective action and asbestos abatement options including the estimated costs of these options.

(6) “Building occupants and employees” means persons residing in or using state-owned buildings in an official capacity on a regular and routine basis, such as students, national guardsmen and other military personnel, and employees who reside in and work in state-owned buildings on a regular and routine basis as a condition of employment. “Employees” includes, part-time and “Other Personal Services (OPS) employees,” contractors, sub-contractors and their employees. “Building occupants” includes family members of employees who reside in state-owned living quarters.

(7) “Building supervisor” means a person, such as a building manager, or building superintendent, who supervises custodial and maintenance workers who are engaged in general cleaning and maintenance of state-owned buildings and facilities.

(8) “Consultant” means a person licensed as an asbestos consultant pursuant to Section 455.302, Florida Statutes.

(9) “Custodial worker” means a person who performs housekeeping and custodial assignments in state-owned buildings and facilities.

(10) Division means the Division of Safety of the Department of Labor and Employment Security at 2002 Old St. Augustine Road, Building E, Suite 45, Tallahassee, Florida 32399-0663, and its personnel or authorized representatives.

(11) “Maintenance worker” means a person who performs maintenance and repair of sheds, buildings, building systems, and equipment located in state-owned buildings and facilities.

(12) “NESHAP” means the National Emission Standard for Hazardous Air Pollutants.

(13) “NIOSH” means the National Institute for Occupational Safety and Health.

(14) “Perimeter of asbestos work area enclosures and support areas” means a clearly discernible barrier or boundary on the outside of a specific work area which isolates this area and acts as a buffer between this area and adjacent areas.

(15) “Regional Asbestos Program Managers” means those persons selected by the Asbestos Program Administrator to oversee all aspects of the Asbestos Management Program in specific geographic areas of Florida.

(16) “State agency” means any state governmental entity having ownership or responsibility for a state-owned building or facility.

(17) “Unplanned event involving the disturbance of asbestos-containing materials” means unusual occurrences, such as burst pipes, leaky roofs, fires, collisions, explosions, and natural disasters that damage the materials, cause the release of fibers or cause the materials to become friable.

Specific Authority 255.563 FS. Law Implemented 255.552, 255.553, 255.554 FS. History–New 9-3-90, Amended 6-26-91, Formerly 38F-45.002, Amended 6-1-92.