38I-40.005 Review and Approval of Current Operation and Maintenance Plans Implemented Prior to January 1, 1989.

(1) Each Building Asbestos Contact Person shall forward a copy of each building’s current asbestos operation and maintenance plan to the appropriate Regional Asbestos Program Manager within 90 days of the effective date of these rules. If no operation and maintenance plan is in effect, he shall so advise the Regional Asbestos Program Manager.

(2) The Regional Asbestos Program Manager shall review and comment or approve, each operation and maintenance plan received and advise the Building Asbestos Contact Person of the results of this review.

(3) The operation and maintenance plan shall clearly identify its author and the author’s qualifications and training to prepare asbestos management plans.

(4) The operation and maintenance plan shall require the Building Asbestos Contact Person to maintain a program of periodic surveillance of all known or suspected asbestos-containing material until such material has been removed from the building(s). The periodic asbestos surveillance program shall require the following:

(a) All accessible functional spaces with known or suspected asbestos-containing material shall be visually inspected every six months.

(b) The condition of the asbestos-containing material shall be noted and compared to its condition during the initial survey and during subsequent surveillance.

(c) If there is deterioration in the condition of the asbestos-containing material, it shall be documented and photographed. The asbestos hazard shall be reassessed using the criteria found in 40 CFR 763.88 (AHERA), which is incorporated in Rule 38I-40.015, F.A.C. Areas with known or suspected asbestos-containing material where deterioration in condition has been visually detected shall be monitored to measure the level of airborne fibers.

(d) Air samples shall be analyzed in accordance with NIOSH method 7400 as prescribed in 40 CFR 763 Subpart E, or an AHERA specified analysis.

(e) If laboratory analyses indicate airborne fiber levels have increased to more than 0.01 fibers or structures per cubic centimeter, more definitive testing and evaluation or immediate abatement action shall be taken.

(5) The operation and maintenance plan shall include provisions for keeping records of:

(a) Periodic surveillance and air sampling including hazard reassessments if applicable.

(b) Initial and periodic asbestos training and medical monitoring of state employees who may participate in small-scale, short-duration asbestos abatement activities.

(c) Each asbestos abatement action including:

1. A project description that includes start and completion dates.

2. Identification of the abatement contractor and consultant/project monitor.

3. All air monitoring data.

4. All bulk sample data.

5. Where the abatement took place and the extent of the abatement work. Acceptable methods for providing this information include drawings, project notification forms, and photos with a written summary. Upon request from the Regional Asbestos Program Manager, survey drawings shall be updated no later than the next periodic surveillance.

6. Total cost of the project when work is contracted.

7. A post-abatement hazard reassessment.

(d) All unplanned events involving the disturbance of asbestos-containing materials including:

1. A description of the event that includes times and dates.

2. The names of all persons involved in responding to the event.

3. A description of the response action(s) used to control asbestos fibers.

4. Air monitoring data, if any.

5. An asbestos hazard reassessment.

(6) The operation and maintenance plan shall include instructions and methods for:

(a) Conducting routine maintenance and cleaning while minimizing the disturbance of asbestos-containing materials and the release of asbestos fibers.

(b) Conducting non-routine and emergency maintenance involving asbestos-containing material and related small-scale, short-duration asbestos abatement activities.

(c) Informing building occupants and employees and other appropriate contractors and vendors about:

1. The location of asbestos-containing materials and the precautions to take to minimize its disturbance.

2. The Building Asbestos Contact Person and their phone number.

(d) Conducting initial building supervisors training and annual continuing education for custodial and maintenance employees in the dangers inherent in asbestos and breathing asbestos fibers. The training shall include:

1. Information regarding asbestos and its various uses and forms.

2. Information on the health effects associated with asbestos exposure.

3. Locations of asbestos-containing materials identified throughout the building or buildings in which they work.

4. Recognition of damage, deterioration, and delamination of asbestos-containing materials.

5. Name and telephone number of the Building Asbestos Contact Person and the availability and location of the operation and maintenance plan which includes the survey.

6. Other information on asbestos awareness developed by the Department of Labor and Employment Security.

(e) Conducting approved operation and maintenance employee training courses in the dangers inherent in handling and working with asbestos and breathing asbestos fibers. This training shall include at least the following elements:

1. Recognition of possible asbestos-containing materials.

2. Health effects associated with exposure to asbestos including the synergistic effect of smoking.

3. Medical surveillance requirements.

4. Conducting appropriate employee training in proper asbestos work practices including:

a. Engineering controls.

b. Housekeeping procedures.

c. Hygiene procedures.

d. Personal protective clothing.

e. Respirator instruction including purpose, proper use, fit testing and limitations in accordance with 29 CFR 1910.134 and 40 CFR 763.121 as it relates to asbestos exposure.

f. Decontamination requirements and procedures.

g. Emergency procedures.

h. Asbestos waste handling and disposal requirements and procedures.

i. Personal and area air monitoring requirements and procedures.

j. Applicable federal, state and local regulations pertaining to asbestos.

(7) Operation and maintenance plans that are in use and do not meet all approval criteria shall be amended and resubmitted within 90 days of receipt of notification from the Regional Asbestos Program Manager of the need for amendment or correction.

Specific Authority 255.563 FS. Law Implemented 255.552, 255.557 FS. History–New 9-3-90, Amended 6-26-91, Formerly 38F-45.005, Amended 6-1-92.