38I-40.009 Preparation and Implementation of Asbestos Operation and Maintenance Plans.

(1) Each state agency shall ensure that an operation and maintenance plan is prepared and implemented for each building, for which it is responsible, that is found to have asbestos-containing materials.

(2) Each state agency should use the guide for preparation of Operation and Maintenance Plans as approved by the Department of Labor and Employment Security and the Asbestos Oversight Program Team, in soliciting professional services for the development of the required operation and maintenance plans.

(a) The guide for preparation of Operation and Maintenance Plans shall be available from the Asbestos Program Administrator upon request.

(b) The agency that owns the buildings, shall be responsible for listing the buildings for which the service is requested, in accordance with the specified format and inserting other necessary administrative information into the contract, including:

1. The unique building number assigned by the Department of General Services or other appropriate state agency. The building number shall be consistent with the building number used on the building survey.

2. The name, address, local building number and location of each building for which an operation and maintenance plan is required.

3. The name, address and telephone number of the Building Asbestos Contact Person.

4. Copies of all asbestos surveys, for each building, shall be available for review through the respective Building Asbestos Contact Person.

(c) The contracting agency shall be responsible for providing all other administrative information required in the preparation of the specifications, including, but not necessarily limited to the name, address and telephone number of the agency; the name, address and telephone number of the contract manager; the date and location of submittal; and the date and location of the pre-bid conference.

(d) The state agency that owns the building shall notify the appropriate Regional Asbestos Program Manager of all pre-bid conferences, walk-through inspections, and pre-construction conferences related to asbestos surveying, operation and maintenance management planning and asbestos abatement contracts.

(3) The guide for preparation of Operations and Maintenance Plans should be used in order to ensure compliance with the requirements of Sections 255.551-.565, Florida Statutes, and these rules. These rules shall be binding in the creation and implementation of operation and maintenance plans.

(a) Any deviation required, from the guide for preparation of Operations and Maintenance Plans should be submitted to both the Asbestos Program Administrator and the appropriate Regional Asbestos Program Manager, in writing, with an explanation as to why the deviation is necessary.

(b) Approval, or disapproval, of the requested deviation shall be provided to the requesting agency, in writing, within 30 days of receipt of the request.

(4) The provisions of 40 CFR 763.91 (AHERA), operation and maintenance plans, are incorporated by reference and shall be used for the preparation and implementation of operation and maintenance plans, except for initial cleaning requirements and except where superseded by more stringent state requirements included in the guide for preparation of Operations and Maintenance Plans.

(5) The contracting agency shall verify that the contracted consultant is licensed to do the work. If this information is not readily apparent from the copies of licenses provided by the consultant, the contracting agency may request the assistance of the Asbestos Program Administrator in making this determination.

(6) The contracting agency shall be responsible for the distribution, within seven days of completion, of a copy of the operation and maintenance plan to the appropriate Regional Asbestos Program Manager for review, approval and comment.

(7) The contracting agency shall also provide a copy of the operation and maintenance plan to the Asbestos Program Administrator, 2002 Old St. Augustine Road, Building E, Suite 45, Tallahassee, Florida 32399-0663.

(8) The Regional Asbestos Program Manager shall review and comment or approve the operation and maintenance plan within 30 days of receipt and advise the contracting agency and the Building Asbestos Contact Person of the results of the review.

Specific Authority 255.552, 255.563 FS. Law Implemented 255.552, 255.557 FS. History–New 9-3-90, Formerly 38F-45.009, Amended 6-1-92.