Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On August 18, 2015, the Department issued a Final Order that was in response to a Petition for Variance from City of Sarasota city Hall, filed August 5, 2015, and advertised on August 10, 2015 in Vol. 41, No.154, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 3.4.5, ASME A17.1b, 2009 edition, as adopted by paragraph 61C-5.001(1)(a), F.A.C., from the minimum top of car clearances because the overhead clearance listed on the petition of 11’ 8” meets Rule 3.4.5, additionally petitioner may comply with Rule 2.4.7.2 as an alternative to the minimum overhead clearance. (VW2015-194).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, (850)488-1133.