- 40A-3.011 Policy and Purpose.

(1) The purpose of Chapter 40A-3, F.A.C., is to implement the duties and responsibilities of the District under Part III, Chapter 373, F.S., and those responsibilities and duties delegated to the District by the Department of Environmental Protection relative to regulating the location, construction, repair, or abandonment of wells, and the licensing of water well contractors. It is the policy of the Board that these rules are a reasonable necessity to insure the protection and management of water resources and the health, safety, and general welfare of the people of this District.

(2) The rules in this chapter implement the regulation of wells and licensing of water well contractors through the following parts:

(a) Part I of this chapter establishes a permitting system for the location, construction, repair or abandonment of wells.

(b) Part II of this chapter establishes the minimum standards for the construction, repair, or abandonment of wells.

(c) Part IV of this chapter provides for suspension and revocation of water well contractor licenses.

(d) Part V of this chapter provides for enforcement and penalties.

(e) Rules relating to water well contractor licensing are found in Chapter 62-531, F.A.C., adopted by reference in Rule 40A-3.037, F.A.C., of these rules.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.333, 373.337 FS. Law Implemented 373.306, 373.308, 373.309, 373.313, 373.316, 373.323(2), 373.324, 373.326, 373.329, 373.333, 373.342 FS. History–New 4-14-80, Amended 2-1-82, 10-1-84, 1-9-86, Formerly 16G-3.01, Amended 8-1-89.