- 40A-3.550 Violations of Construction Standards.

(1) Acts or omissions which constitute violations of Part II of these rules governing well construction standards, shall include:

(a) Failure to meet the location requirements of Rule 40A-3.504, F.A.C.

(b) Failure to meet the casing specifications provided in Rule 40A-3.507, F.A.C.

(c) Failure to provide an antisyphon device on wells for irrigation systems.

(d) Failure to disinfect a well constructed for potable use.

(e) Failure to provide a nominal two-inch annulus in rotary constructed wells.

(f) Failure to properly seal the annular space of any well.

(g) Failure to plug an abandoned well.

(h) Failure to comply with any order for corrective work.

(i) Failure to fulfill any other applicable requirements of Chapter 373, Part III, F.S., or Chapter 40A-3, F.A.C.

(2) Actions which may be taken by the District staff upon determination that a violation has occurred are outlined in Rule 40A-3.980, F.A.C., of these rules.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.306, 373.308, 373.309, 373.319 FS. History–New 1-9-86, Amended 11-1-92.