- 40A-4.101 Content of Application.

(1) Permit applications under provisions of subsection 40A-4.041(2), F.A.C., shall include:

(a) Name and address of the applicant;

(b) Name and address of the owner or owners of the land upon which the construction, alteration, or abandonment is to take place;

(c) Location of the work, including a location map;

(d) Plans and specifications as prepared or approved by a professional engineer registered in the State of Florida, or by the U.S. Department of Agriculture Natural Resources Conservation Service;

(e) Plans and specific procedures for operating and maintaining the proposed dam, impoundment, reservoir, appurtenant work, or works including operating during floods and droughts; and

(f) Name and address of person who prepared the plans and specifications.

(2) Applications for General Permits under provisions of subsection 40A-4.041(1), F.A.C., shall be filed with the Department on forms provided by the Department or District, and shall include, as a minimum:

(a) Name and address of applicant;

(b) Name and address of owner or owners of the land upon which the construction, alteration, or abandonment is to take place;

(c) Location and scope of work, including a location map, and any plans and specifications prepared for the project.

(3) In situations where unusual topographic or geologic conditions or safety hazards exist, the District shall require the applicant, under subsections (1) and (2) above, to submit other pertinent information deemed necessary for evaluating the application.

Specific Authority 373.044, 373.113, 373.131, 373.406, 373.418 FS. Law Implemented 373.406, 373.413, 373.416, 373.426, 373.427 FS. History– New 4-14-80, Amended 2-1-82, Formerly 16G-4.10, Amended 7-1-98, 3-2-00.