Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001:	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On September 3, 2015 the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from Old Federal Courthouse, AKA Ed Ball Building, filed August 18, 2015, and advertised on August 20, 2015 in Vol. 41, No.162, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.2.2.5, 2.7.4.1, 2.11.15.1, and 2.11.18, ASME A17.1b, 2009 edition, as adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code, from providing sump pump; headroom in machinery spaces, machine rooms, control spaces, and control rooms; labeling of tested entrance assembly; and installation instructions because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2015-204).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013.