40B-2.381 Limiting Conditions.

(1) The Board may impose upon any permit issued under this chapter such limiting conditions as are necessary to insure that the withdrawal and/or use of water is consistent with the overall policy of the District and the declared purpose of this chapter and that the withdrawal is not harmful to the water resources of the District.

(2) In addition to specific special conditions, any or all of the following standard limiting conditions may be made a requirement of any permit:

(a) A maximum and/or average volume of water which can be used or withdrawn during a specific period.

(b) The location of points of withdrawal and/or use.

(c) The submission of a water shortage and conservation plan by the applicant.

(d) Duration of the permit.

(3) For uses in excess of two million gallons per day average daily rate of withdrawal, in addition to specific special conditions and the standard conditions identified in subsection 40B-2.381(2), F.A.C., any or all of the following conditions may be made part of the permit:

(a) Analysis and reporting of specified water quality parameters at specified intervals.

(b) Reporting of water withdrawal, use, or discharge at specified intervals and locations.

(c) Measurement and reporting of ground and surfacewater levels and surfacewater flows at specified intervals and locations.

(4) The Board may impose limitations on the permitted amount of water which can be withdrawn and used during times and in areas of declared water shortage.

(5) The Board shall assign each permit to a permit classification pursuant to Rule 40B-2.501, F.A.C.

Specific Authority 373.044, 373.113, 373.171, 373.216, 373.219 FS. Law Implemented 373.219, 373.223 FS. History–New 10-1-82, Amended 5-1-83.