40B-2.501 Classification of Permits.

Permits for water use at the time of issuance shall be assigned to a classification according to source of supply, method of extraction, and use of the water.

(1) Source of Supply.

(a) Withdrawals from surfacewater bodies shall be classified by the basin or subbasin as specified by the Board. The Board may further classify the permit by the specific surfacewater source.

(b) Withdrawals from groundwater aquifers shall be classified by the source aquifer either Floridan Aquifer, Secondary Artesian Aquifer, or Water Table Aquifer as appropriate. Further, the classification for withdrawals from the Floridan Aquifer shall include a reference to the confined or unconfined condition of the aquifer.

(2) Method of Extraction. Unless otherwise noted in the permit classification, the method of extraction shall be considered mechanical extraction by use of pumps.

(3) Water Use Classes. Each water use permit shall be assigned to one or more of the following use classes or subclasses where appropriate:

(a) Essential Use.

(b) Self-supplied Residential Use.

(c) Climate Control Use.

(d) Water Utility Use.

(e) Power Production Use.

(f) Commercial/Industrial Use.

(g) Landscape Irrigation Use.

(h) Golf Course Use.

(i) Agricultural Use.

(j) Nursery Use.

(k) Aquacultural Use.

(l) Water-based Recreation Use.

(m) Aesthetic Use.

(n) Other Outside Uses.

(o) Augmentation Use.

Specific Authority 373.044, 373.113, 373.171, 373.219 FS. Law Implemented 373.036, 373.113, 373.246 FS. History–New 10-1-82, Amended 5-1-83.