40B-3.101 Content of Application.

(1) Permits will only be issued upon application by the owner on whose property the well is to be located or his agent.

(2) Applications for permits required by this chapter shall be filed with the District. The application shall contain:

(a) The name, address, telephone number, and signature of the property owner or his agent;

(b) The name, license number, telephone number, and signature of the licensed contractor constructing the well;

(c) The method of construction for the new construction, repair, or abandonment and the proposed starting date;

(d) The well use;

(e) The proposed casing type, diameter, and depth;

(f) The proposed length and type screen to be used;

(g) The proposed pump capacity in gallons per minutes;

(h) The location of the well (to the nearest 1/4 section, or latitude and longitude to the nearest second), including the county, subdivision name, and a site map to scale depicting landmarks; and

(i) The contractor’s or owner’s agreement to comply with all District rules.

(3) The submittal of a permit application shall constitute the owner’s permission to the District for the purpose of gaining access to the property for inspection of the well site.

(4) The required fee pursuant to Rule 40B-3.201, F.A.C., shall be submitted with the permit application.

(5) The applicant shall provide with the application a site plan to scale of the property identified in (2)(h) above, which includes any existing or proposed improvements, and clearly identifies the proposed well location. If the proposed well location is within a floodprone area of the Suwannee River system defined as the 100-year floodplain of the Suwannee, Alapaha, Withlacoochee, Santa Fe, and Aucilla Rivers as depicted on official Flood Hazard Boundary Maps or Flood Insurance Rate Maps issued by the Federal Emergency Management Agency for each county and community, the site plan shall include the land surface elevation at the proposed well location and the site plan and elevation(s) shall be certified by a Professional Surveyor and Mapper registered in Florida under Chapter 472, F.S. If the proposed well location is not within a floodprone area of the Suwannee River system defined as the 100-year floodplain of the Suwannee, Alapaha, Withlacoochee, Santa Fe, and Aucilla Rivers as described above, the applicant may include a copy of the appropriate recent aerial photograph with property boundaries available from the offices of the respective County Property Appraiser, or copy of a plat or other survey, annotated to show all improvements and proposed well location in order to satisfy the requirements of this rule.

Specific Authority 373.044, 373.113, 373.171 FS. Law Implemented 17-101.040(12)(a)4. F.A.C.; 373.308, 373.309, 373.313, 373.326, 373.342, 403.0877 FS. History–New 7-1-85, Amended 8-15-89, 4-4-91, 6-22-99.