40B-3.529 Flowing Wells.

If the well flows at land surface, a valve shall be provided for controlling the discharge from the well.

Specific Authority 373.044, 373.309, 373.171 FS. Law Implemented 373.206, 373.306, 373.308, 373.309, 373.113 FS. History–New 7-1-85.