40B-5.0021 Definitions.

The following words and phrases when used in these rules and regulations shall have the following meanings, unless the context clearly indicates otherwise:

(1) “Artificial recharge” means the intentional introduction of water into any underground formation. This definition includes, but is not limited to, fluids discharged from two types of artificial recharge systems:

(a) Land application facilities and

(b) Disposal, storage, and connector well facilities. This definition does not include wastewaters discharged from residential septic tank-drain field systems, effluent from sewage treatment plants of less than 100,000 gallons per day (gpd) design capacity using land application techniques or facilities for agricultural irrigation.

(2) “Land application facility” means any and all wastewater facilities that utilize lands for the purification and treatment of wastewater. Land facilities shall include, but are not to be limited to, those employing recharge or percolation ponds, soakage pits, sinkholes, evaporation ponds, drain fields, spraying, spreading, and furrowing for treatment and disposal of wastewaters. Land application facilities exclude storage, connector, and disposal wells.

(3) “Disposal well” means a well drilled, converted, or used for subsurface disposal of wastewaters.

(4) “Storage well” means a well drilled, converted, or used for the storage and scheduled withdrawal of fluids.

(5) “Connector well” means a well drilled for the express purpose of allowing water from one aquifer to recharge another.

(6) “Test well” means any excavation that is drilled, cored, bored, washed, jetted, or otherwise constructed for the intended purpose of obtaining geologic and/or hydrogeologic information utilized for the evaluation of a proposed storage, disposal, and/or connector well.

(7) “Monitor well” means a boring, excavation, or well utilized for the purpose of observing and recording the physical and chemical nature of water contained in a selected monitor interval.

(8) “Waste product” means waste or by-product including heated water quantities in excess of 40,000 gallons per day (gpd) resulting from municipal or industrial operations or waste from any trade, manufacture, business, or private pursuit which could be detrimental to area resources including ground and surface waters.

(9) “Wastewater” means water that contains waste products. Wastewaters may include surface runoff waters from industrial, urban, and residential areas.

(10) “Pollution” shall mean the presence in the waters of the state of any substances, contaminants, or man-made or man-induced alteration of the chemical, physical, biological, or radiological integrity of the water in quantities or levels which are or may be potentially harmful or injurious to human health or welfare, animal or plant life, hydrogeologic integrity of aquifers, or property or unreasonably interfere with the enjoyment of life or property including outdoor recreation.

(11) “Department” means the Department of Environmental Protection (DEP) or its successor agency or agencies.

(12) “District” means the Suwannee River Water Management District (SRWMD) created and operating by the authority of Chapter 373, Florida Statutes.

(13) “Governing Board” or “Board” means the Governing Board of the Suwannee River Water Management District as created by Chapter 373, Florida Statutes.

(14) “Persons” means any and all persons, natural or artificial, including any individual, firm, association, organization, partnership, business trust, corporation, company, the United States of America, and the State and all political subdivisions, regions, districts, municipalities, and public agencies thereof. The enumeration herein is not intended to be exclusive or exhaustive [373.019(6)].

(15) “Water” means any and all water on or beneath the surface of the ground or in the atmosphere, including natural or artificial watercourses, lakes, ponds, or diffused surface water and water percolating, standing, or flowing beneath the surface of the ground, as well as all coastal waters within the jurisdiction of the District.

(16) “Ground water” is classified as potable when it contains less than 10,000 mg/l total dissolved solids; nonpotable when it contains more than 10,000 mg/l total dissolved solids.

(17) “Static water level” means the level at which water stands in a well when no water is being taken from the aquifer and is generally expressed as distance above or below mean sea level (msl).

(18) “Repair” or “Maintenance” means changes to the retrievable components of any part of an artificial recharge system but does not include the alteration or replacement of any portion of that facility which is above land surface.

(19) “Modify” or “Rework” means to make changes or alterations in the permanent subsurface portion of an artificial recharge system. In a land application facility, this could include, but would not be limited to, changing the location or size of percolation ponds. In storage, connector, or disposal wells, this would include, but would not be limited to, squeezing with cement, repairing of casing leaks, cementing of casing or liners, casing or liner perforation, well stimulation, deepening, or plugging back operation.

Specific Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.019, 373.106, 373.303 FS. History–New 4-20-78, Amended 4-15-81, Formerly 16H-5.02, 40B-5.02, 40B-5.021.