- 40B-5.021 Initial Testing of Storage Wells, Connector Wells, and Reservoirs.

Data shall be reported to the District demonstrating that a storage well, connector well, or reservoir is suitable for the proposed use. These data shall be obtained by appropriate testing and measurement procedures, including the following:

(1) The casing, tubing, and well-head equipment shall be pressure tested at 133% of expected operating pressure.

(2) The reservoir shall be tested to demonstrate to the District that the reservoir will accept or retain fluids at expected operating pressure.

(3) The physical characteristics of the reservoir shall be determined as accurately as practicable.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.106, 373.171 FS. History–New 4-20-78, Formerly 16H-5.21, 40B-5.21.