- 40B-5.0331 Modification of Permits.

(1) An existing well permitted under the artificial recharge act may be deepened below the depth to which originally completed, may be reworked, may be shut in for a period of time not to exceed one (1) year as provided in paragraph 40B-5.0701(7)(a), F.A.C., and its status may otherwise be changed by any operation except for conversion to new use if:

(a) An application for permission to change the status of the well has been filed with the District on prescribed forms. The application shall contain a detailed account of the work to be accomplished. Supplemental information required by the District or the application shall be submitted on separate sheets with the application.

(b) The application has been approved by the District and a permit to change the status of the well has been issued.

(2) Within thirty (30) days after completion of the change of status operation, a complete record of the work performed shall be filed on prescribed forms furnished by the District.

(3) Normal repair or maintenance of wells shall not constitute a change in status.

(4) A well which cannot be completed shall be plugged promptly in accordance with subsection 40B-5.0701(7), F.A.C., unless converted to other use as provided in subsections 40B-5.0041(4), (5), F.A.C.

(5) A well which is not confirmed or approved for use as specified on the permit shall be:

(a) Plugged in accordance with subsection 40B-5.0701(7), F.A.C.; or

(b) Converted to other use as herein provided.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.106, 373.126, 373.133, 373.171 FS. History–New 4-20-78, Amended 4-15-81, Formerly 16H-5, 40B-5.331.