- 69A-41.103 Standards of the National Fire Protection Association Adopted.

(1) The following portions of NFPA 101, known as the Life Safety Code, current edition, adopted in rule Chapter 69A-60, F.A.C., are hereby adopted and incorporated herein by reference:

(a) Section 24.2.1;

(b) Section 24.2.2, except that an approved means of escape shall be equivalent to an outside window or door which shall be openable from the inside, without the use of tools or a key and shall provide a clear opening of not less than 22 inches in the least dimension and a minimum of 5 square feet in area. The bottom of the opening shall be not more than 48'' above the finished floor;

(c) 24.2.3, 24.2.4, 24.3.4, 24.3.4.1, and 24.3.4.3.

(2) The codes and standards published by the National Fire Protection Association may be obtained by writing to the NFPA at: 1 Batterymarch Park, Quincy, Massachusetts 02169-7471. All standards adopted and incorporated by reference in this rule are also available for public inspection during regular business hours at the Bureau of Fire Prevention, Division of State Fire Marshal, Department of Financial Services, 325 John Knox Road, The Atrium, Third Floor, Tallahassee, Florida 32303.

Rulemaking Authority 633.104(1) FS. Law Implemented 633.206(1)(b) FS. History–New 9-17-03, Formerly 4A-41.103, Amended 10-28-15.