- 40C-1.712 Design Criteria Package.

The design criteria professional shall prepare and seal a design criteria package which shall include, but not be limited to, the following: survey information and the legal description of the site; interior space requirements; material quality standards; schematic layouts and conceptual design criteria; cost or budget estimates; design and construction schedules; site development requirements; utility provisions for water, sewer, power and telephone; stormwater retention and disposal; and parking requirements, if applicable. Due to the specific requirements of a particular project, additional criteria shall be required in the design criteria package. The purpose of the design criteria package is to provide sufficient information upon which design-build firms may prepare proposals or upon which negotiations may be based. The firm to whom the design-build contract is awarded will be responsible for creation of the project design based on the criteria in the design criteria package.

Rulemaking Authority 287.055, 373.044, 373.113 FS. Law Implemented 287.055 FS. History–New 9-25-90, Amended 6-17-91.