40C-2.381 Limiting Conditions.

(1) The Board will impose upon any permit granted pursuant to this Chapter such reasonable conditions as are necessary to assure that the permitted use of water will be consistent with the provisions of Rule 40C-2.011, F.A.C., and will not be harmful to the water resources of the District.

(2)(a) The Board hereby determines and finds that the inclusion of the following limiting conditions on general permits issued under Chapter 40C-20, F.A.C., and permits issued under this chapter are necessary in order to meet the requirements set forth in subsection 40C-2.381(1), F.A.C., and will be imposed at the time a consumptive use permit is issued or granted by rule:

1. District authorized staff, upon proper identification, will have permission to enter, inspect and observe permitted and related facilities in order to determine compliance with the approved plans, specifications and conditions of this permit.

2. Nothing in this permit should be construed to limit the authority of the St. Johns River Water Management District to declare a water shortage and issue orders pursuant to Section 373.175, F.S., or to formulate a plan for implementation during periods of water shortage, pursuant to Section 373.246, F.S. In the event a water shortage is declared by the District Governing Board, the permittee must adhere to the water shortage restrictions, as specified by the District, even though the specified water shortage restrictions may be inconsistent with the terms and conditions of this permit.

3. Prior to the construction, modification or abandonment of a well, the permittee must obtain a water well permit from the St. Johns River Water Management District or the appropriate local government pursuant to Chapter 40C-3, F.A.C. Construction, modification, or abandonment of a well will require modification of the consumptive use permit when such construction, modification, or abandonment is other than that specified and described on the consumptive use permit application form.

4. Leaking or inoperative well casings, valves, or controls must be repaired or replaced as required to eliminate the leak or make the system fully operational.

5. Legal uses of water existing at the time of permit application may not be significantly adversely impacted by the consumptive use. If unanticipated significant adverse impacts occur, the District shall revoke the permit in whole or in part to curtail or abate the adverse impacts, unless the impacts can be mitigated by the permittee.

6. Off-site land uses existing at the time of permit application may not be significantly adversely impacted as a result of the consumptive use. If unanticipated significant adverse impacts occur, the District shall revoke the permit in whole or in part, to curtail or abate the adverse impacts, unless the impacts can be mitigated by the permittee.

7. The District must be notified, in writing, within 30 days of any sale, conveyance, or other transfer of a well or facility from which the permitted consumptive use is made or within 30 days of any transfer of ownership or control of the real property at which the permitted consumptive use is located. All transfers of ownership or transfers of permits are subject to the provisions of Rule 40C-1.612, F.A.C.

8. A District-issued identification tag shall be prominently displayed at each withdrawal site by permanently affixing such tag to the pump, headgate, valve, or other withdrawal facility as provided by Rule 40C-2.401, F.A.C. Permittee shall notify the District in the event that a replacement tag is needed.

(b) In addition to these general limiting conditions which are applied to all permits, other limiting conditions will be applied to specific permits. These additional limiting conditions are described in Part III, “Applicant’s Handbook Consumptive Uses of Water”.

Specific Authority 373.044, 373.113 FS. Law Implemented 373.216, 373.219(1) FS. History–New 1-1-83, Amended 5-31-84, Formerly 40C-2.381, 40C-2.0381, Amended 8-1-89, 7-23-91, 2-15-06.