- 40C-3.411 Well Completion Report.

(1) Well completion reports are required for the construction, repair or abandonment of all wells regardless of whether a permit is required under Rule 40C-3.041, F.A.C. Well completion reports shall be filed with the District by the contractor within 30 days of the completion of the work.

(a) Well completion reports for sites controlled by Chapter 62-761, F.A.C., may include all monitoring wells for the same site on a single form.

(b) Computer generated completion reports developed by the contractor may be used in place of District supplied forms if these reports have been approved by the District prior to use.

(2) The water well contractor shall keep or cause to be kept by a person in his employ a field log. Such records shall be available for inspection by the District at the site during all times when actual work is in progress.

(3) If no work is performed or if the well is not completed, a report shall be filed by the contractor within thirty days of the expiration of the permit stating that no well construction was performed or completed under the permit.

(4) The District may also require that samples be taken during construction and furnished to it along with the completion report. If samples are required, the District will provide containers and instructions.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.308, 373.309, 373.313, 373.326, 373.342 FS. History–New 10-14-84, Formerly 40C-3.411, 40C-3.0411, Amended 9-17-89.