## 40C-3.492 Violations of Permits.

(1) Actions, omissions, or conduct which may be considered a violation of this part shall include but are not limited to the following:

(a) Failure to submit a complete well completion report within 30 days of the completion of construction, repair or abandonment of any well.

(b) Intentional misrepresentation or falsification of records.

(c) Failure to obtain a permit when required under Rule 40C-3.041, F.A.C.

(d) Failure to keep a field log at the drilling site with accurate information of all construction activities.

(e) Failure to provide a field log upon request to a District representative at the drilling site unless a field log is not available at the site.

(f) Failure to report to the District within 30 days of expiration of the permit when no work is performed or the well is not completed.

(g) Failure to comply with any or all permit conditions.

(h) Failure to notify the District 24 hours prior to the commencement of drilling operations of any public supply well.

(i) Failure to notify the District 24 hours prior to the placement of grout in the annular space of any public supply well.

(j) Failure to attach a metallic tag to any well as required in subsection 40C-3.461(3), F.A.C. The contractor shall not be responsible for the tag after it has been attached to the well.

(2) Violations may be reported by any person, including District staff.

Rulemaking Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.103(1), 373.306, 373.308, 373.309, 373.333, 373.336 FS. History–New 10-14-84, Amended 12-5-85, Formerly 40C-3.492, 40C-3.0492, Amended 8-1-89, 9-17-89, 11-11-03.