- 40C-3.500 Scope of Part II.

This Part sets forth the standards and criteria for the construction, repair and abandonment of wells, including all provisions contained in Chapter 62-532, F.A.C., which is adopted by reference and made a part of this rule. All wells within the District boundaries must comply with these standards regardless of whether a permit is required under Part I.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.308, 373.309 FS. History–New 10-14-84, Formerly 40C-3.500, 40C-3.0500, Amended 9-17-89.